## Wagons
Takt train — wagon catalog (anonymized pattern)
One row per wagon = one reusable work package that the train repeats in every takt zone. Takt beat = 1 week.
Wagon | Crew | Activity (generic trade) | Unit
3 | SUB-01 | Survey & layout — wall set-out | AREA
3 | SUB-02 | Core drilling — penetrations | COUNT
5.1 | SUB-03 | Drywall — first-side boarding | AREA
5.2 | SUB-04 | MEP in-wall — conduit & pipework | AREA
5.3 | SUB-03 | Drywall — second-side / close-up | AREA
6.1 | SUB-06 | Painting — filling & first coat | AREA
7 | SUB-07 | Suspended ceiling — grid & boards | AREA
8 | SUB-08 | Sprinkler — mains & drops | AREA
9 | SUB-09 | Ventilation — ducts & terminals | AREA
10 | SUB-05 | Plumbing — mains, branches, pressure test | AREA
11.1 | SUB-04 | Electrical — cable trays / close-up | AREA
12.1 | SUB-04 | Electrical — cabling & distribution boards | AREA
13 | SUB-04 | Electrical — data & fire-alarm cabling | AREA
14 | SUB-11 | BMS / security / IT — cabling | AREA
17.1 | SUB-06 | Painting & tiling — wet rooms, final coats | AREA
18 | SUB-14 | Flooring — levelling & finishes | AREA
20.1 | SUB-16 | Joinery — kitchenette, doors, trims | COUNT
21 | SUB-11 | MEP/BMS — fit-out completion | AREA
22 | SUB-04 | Commissioning — electrical & controls | AREA
23 | SUB-19 | Final cleaning & handover | AREA

## Zones
Takt zones — building B
Zone code = building : floor : zone. Areas are illustrative (the ontology derives real areas from TopologicPy geometry).
Zone | Building | Floor | Sub-zone | Area m² (illustrative)
B5:1 | B | Plan 5 | 1 | 184
B5:2 | B | Plan 5 | 2 | 176
B4:1 | B | Plan 4 | 1 | 179
B4:2 | B | Plan 4 | 2 | 181
B2:1 | B | Plan 2 | 1 | 171
B2:2 | B | Plan 2 | 2 | 168

## Flowline
Flowline — building B (takt zone × takt week)
Each cell = the wagon occupying that zone that week. Read a diagonal band: the train walks zone-to-zone, one takt apart. Blanks = buffer / no work. Time is relative takt weeks (T01…); real calendar removed.
Zone | T01 | T02 | T03 | T04 | T05 | T06 | T07 | T08 | T09 | T10 | T11 | T12 | T13 | T14 | T15 | T16 | T17 | T18 | T19 | T20 | T21 | T22 | T23 | T24 | T25 | T26 | T27 | T28 | T29 | T30 | T31 | T32 | T33 | T34 | T35 | T36 | T37 | T38 | T39 | T40 | T41 | T42 | T43 | T44 | T45 | T46 | T47 | T48 | T49 | T50 | T51 | T52 | T53 | T54 | T55 | T56 | T57 | T58 | T59
B5:1 | T01: 3; T04: 5.1; T05: 5.2; T06: 5.3; T07: 6.1; T08: 7; T09: 8; T10: 9; T11: 9; T12: 10; T13: 10; T14: 11.1; T15: 12.1; T16: 13; T17: 14; T18: 17.1; T19: 21; T20: 18; T22: 18; T25: 20.1; T26: 22; T27: 23; T28: 23
B5:2 | T06: 3; T08: 5.1; T09: 5.2; T10: 5.3; T11: 6.1; T12: 7; T13: 8; T14: 9; T15: 9; T16: 10; T17: 10; T18: 11.1; T19: 12.1; T20: 13; T23: 14; T24: 17.1; T25: 21; T35: 18; T36: 18; T38: 20.1; T39: 22; T40: 23; T41: 23
B4:1 | T23: 3; T25: 5.1; T26: 5.3; T27: 6.1; T28: 7; T29: 8; T34: 9; T35: 9; T36: 6.1; T37: 10; T38: 10; T39: 11.1; T40: 12.1; T41: 13; T42: 14; T43: 17.1; T44: 21; T45: 21; T46: 18; T47: 18; T48: 20.1; T49: 20.1; T50: 20.1; T52: 22; T53: 23
B4:2 | T23: 3; T24: 5.1; T25: 5.3; T26: 6.1; T27: 7; T28: 8; T29: 9; T34: 9; T35: 10; T36: 10; T37: 11.1; T38: 12.1; T39: 13; T41: 14; T42: 17.1; T43: 21; T44: 21; T45: 18; T46: 18; T47: 20.1; T48: 20.1; T52: 22; T53: 23
B2:1 | T28: 3; T34: 5.1; T38: 5.3; T39: 6.1; T40: 8; T41: 9; T42: 9; T43: 10; T44: 10; T45: 11.1; T46: 12.1; T47: 13; T49: 14; T50: 17.1; T51: 21; T53: 18; T55: 18; T56: 18; T57: 20.1; T58: 20.1; T59: 23
B2:2 | T28: 3; T29: 5.1; T34: 5.3; T36: 6.1; T37: 7; T38: 8; T39: 9; T40: 9; T41: 10; T42: 10; T43: 11.1; T44: 11.1; T45: 12.1; T46: 12.1; T47: 13; T48: 14; T49: 17.1; T50: 21; T52: 18; T53: 18; T56: 20.1; T57: 20.1; T58: 20.1; T59: 23

## Legend
Anonymized takt-flowline pattern
This workbook is a SMALL, fully anonymized slice of a real takt production plan,
extracted as a discussion pattern for the taktology ontology.
What it shows (the takt method in three tables):
- Wagons = the takt train: reusable work packages, in sequence, 1-week beat.
- Zones = the locations the train moves through (building : floor : sub-zone).
- Flowline = wagon x zone x time; the diagonal band is the train walking the zones.
Anonymization applied:
- Project / client / estate names, project number, and named third parties removed.
- Subcontractor codes remapped 1:1 to neutral SUB-01..SUB-20 (flowline relations intact).
- Swedish activity text replaced with generic English trade labels.
- Original calendar replaced with relative takt weeks T01..; buffers preserved.
- Wagon ids and zone coordinates are generic and kept (they carry the structure).
Maps to ontology/takt.ttl: WagonType (a Wagons row) is instantiated as a TaktTask
(a Flowline cell) performedIn a TaktZone (a Zones row), performedBy a Crew (SUB-xx),
chained by hasSuccessor. See examples/takt-flowline-demo.md.